## Gas
Gas Consumption (m^3/h) | Heat load (kW/h) | Efficiency of gas boiler (%) | Clorific Value of Gas (kW/m^3) | Volume (m^3) | Heat loss | Delta T (°C) | Expected Average Temp (°C) | Day Average Temp (°C) | Gas Cons. Per day (m^3) | Solution: Gas Cons. Per day (m^3) |  | Gas Cons. Per day (kWh) | Solution: Gas Cons. Per day (kWh) | Solution: Price avarege in Eu per day (€) | Percentage of total savings (%)
1.156 | 9.8837 | 90 | 9.5 | 250 | 1 | 34 | 22 | -12 | 27.7438 | 23.7454 | 30% of 27,74378 and 70% 22,03182 | 315.2433 | 269.8112 | 21.0992 | 14.4118
0.91799 | 7.8488 | 90 | 9.5 | 250 | 1 | 27 | 15 | -12 | 22.0318 | 24.3166 | 40% of 27,74378 and 60% 22,03182 | 250.3403 | 276.3015 | 21.6068 | 12.3529
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 | 25.1163 | 54% of 27,74378 and 46% 22,03182 | 0 | 285.3879 | 22.3173 | 9.4706
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0 |  | Before the Solution (€)
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0 |  | 24.652
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0
0 | 0 | 90 | 9.5 | 250 | 1 | 0 |  |  | 0 |  |  | 0

## Eletricity
Consumption (kWh) | Wattage of the lamp (W) | Wattage of the lamp (kW) | Hours per Day (h) | Cost per kWh ($) | Total Cost ($) | Total Cost in a month ($) | Percentage of total savings (%)
0.24 | 12 | 0.012 | 20 | 0.14 | 0.0336 | 1.008 | 60
0.096 | 12 | 0.012 | 8 | 0.14 | 0.01344 | 0.4032
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0
0 |  | 0 |  | 0.14 | 0 | 0